Rate Contract for Supply, Installation, Commissioning and Maintenance (SICM) Of Automatic Fire Detection & Alarm System (AFD&AS) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh)

- DISCLAIMER

The information contained in this Tender document or any information/documents provided subsequently to Bidder(s) whether verbally or in documentary form by or on behalf of the Bank is provided to the Bidder(s) on the terms and conditions set out in this Tender document and all other terms and conditions subject to which such information is provided. This Tender is neither an agreement nor an offer and is only an invitation by Bank to the interested parties/Bidders for submission of bids. The purpose of this Tender is to provide the Bidder(s) with information to assist the formulation of their proposals. While effort has been made to include all information and requirements of the Bank, this Tender does not claim to include all the information each Bidder may require. The Bank makes no representation or warranty and shall incur no liability under any law, statute, rules or regulations as to the accuracy, reliability or completeness of this Tender. The Bank may in its absolute discretion, but without being under any obligation to do so, update, amend, supplement or annul the information in this Tender.

# BRIEF ABOUT J&K GRAMEEN BANK

“J&K Grameen Bank”, a Regional Rural Bank created by amalgamation of Jammu Rural Bank and Kamraz Rural Bank by Government of lndia while exercising power conferred by Sub-Section (1) of section 23(A) of the Regional Rural Bank's Act,1976 vide notification dated 30th June 2009, issued by Ministry of Finance, Department of Financial Services, carrying on Banking Business, having its Head office at Narwal, Jammu, Pin-180006, Jammu and Kashmir, hereinafter referred to as the “Bank”.

Detailed information about J&K Grameen bank is available at Banks website www.jkgb.in.

# OBJECTIVE OF TENDER

# To enter into rate contract with eligible Bidder for Supply, Installation, Commissioning and Maintenance (SICM) and Comprehensive Annual Maintenance Contract (CAMC) of Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh).

# The Tender document can be downloaded from official web site of the Bank www.jkgb.in Other details i.e. specifications and Terms and Conditions will be available along with the Tender document.

# SCHEDULE FOR TENDER PROCESS:-

| - TENDER Ref. No. | JKGB/GAD/Automatic Fire Detection & Alarm System/2024-25/8840 Dated: 20.03.2025 |
| --- | --- |
| - Scope of Work | # Rate Contract for Supply, Installation, Commissioning and Maintenance (SICM) and Comprehensive Annual Maintenance Contract (CAMC) of Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh) |
| - Mode of Tender Submission | Offline |
| - Contact details for correspondence regarding this TENDER | Mr. Vikash Koushal, General Administrative Department, J&K Grameen Bank Head Office, Narwal-180006, Jammu E-mail: pdg.jkgb@jkgb.in Contact No. 9797127377 / 9622363283 |
| - Tender Type | Open |
| - Base Currency | INR (₹) |
| - Consortium | Consortium Bids are not allowed. |
| - Tender Document Availability | Document can be downloaded from the Bank’s website: www.jkgb.in w.e.f 20.03.2025 to 15.04.2025 |
| - Tender Type | Two Bid System – Technical Bid and Commercial Bid |
| - Pre-bid queries | Interested Bidders may submit their queries at pdg.jkgb@jkgb.in upto 29.03.2025 |
| - Pre-bid Conference | 02.04.2025 at 12.00 A.M. at JKGB Head Office, Narwal, Jammu |
| - Last date and time for Bid submission | 15.04.2025 upto 05:00 P.M. |
| - Address for submission of Sealed Tender | The General Manager, J&K Grameen Bank Head Office, Near Fruit Complex Narwal-180006, Jammu |
| - Technical Bid opening date | 17.04.2025 at 01:00 P.M at JKGB Head Office, Narwal, Jammu |
| - Commercial Bid opening date | To be communicated separately to technically qualified Bidders only |
| - Project Duration | Two (02) years |
| - Tender Fee (Non-refundable) | ₹1,770/- (Rupees One Thousand Seven Hundred & Seventy only) |
| - EMD (Earnest money Deposit) Amount (₹) | EMD of ₹1,50,000/- (Rupees One Lakh Fifty Thousand only) in the form of TDR pledged to the General Manager J&K Grameen Bank, Head Office, Jammu. Validity of EMD should be atleast 06 months |

Note:

- Firms that are eligible for exemption from MSE’s, Startups are exempted from paying Tender Fee (As per rules of Department of Industrial Policy and Promotion (DIPP), Bank registered units/ empanelled vendors (for relevant items and monetary limit) have to submit /upload scanned copy of documents in support of this exemption.

- Bank may also exempt Startups (As defined by per Department of Industrial Policy and Promotion (DIPP) (Presently Department for Promotion of Industry and Internal Trade (DPIIT)) from meeting the qualification criteria in respect of prior experience and/or prior turnover subject to meeting of quality and technical specifications of the requirement for which necessary relevant documents shall be submitted by such bidders

- INSTRUCTIONS TO THE BIDDERS:

    - Bidders are required to submit details about their organization, experience, technical personnel in their organization / firm, competence and adequate evidence of their financial standing etc. and should submit duly signed and stamped copies of all the required documents and Annexures enclosed with the tender document.

    - Each page of the tender should be duly signed and stamped by the Bidder or authorized signatory (Power of Attorney should be provided).

    - The Bidders are advised to submit 02 sealed envelopes in a single envelope as per details mentioned below:

- Sealed Envelope -1: All documents like tender document, Annexures, EMD, Tender fees receipt any other relevant document should be enclosed in Sealed Envelope – 1 and named as “Technical Bid regarding SICM and CAMC of Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh)”

- Sealed Envelope -2: Duly filled Commercial Bid as per Annexure - 6 should be enclosed in Sealed Envelope – 2 and named as “Commercial Bid regarding SICM and CAMC of Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh)”.

NOTE: Both sealed envelopes should be enclosed in a single Sealed Envelope and named as “Rate Contract for Supply, Installation, Commissioning and Maintenance (SICM) and Comprehensive Annual Maintenance Contract (CAMC) of Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of J&K Grameen Bank (UT of J&K and UT of Ladakh) for a period of 02 years”. Bidder should clearly mention the name of the firm, valid e-mail address and contact no. on all 03 sealed envelopes.

    - The sealed envelope should be addressed to

“The General Manager,

J&K Grameen Bank Head Office,

Near Fruit Complex Narwal-180006, Jammu.”

    - Training must be provided to minimum 02 staff members of the concerned Branch for operating the system after installation. A certificate may be provided in this regard duly verified by the staff member along with his code (to whom the training has been provided).

    - Clarifications if any may be sought from General Administrative Department of J&K Grameen Bank at Head Office.

    - Canvassing in any form is strictly prohibited and the tender of such Bidders that resort to canvassing will be liable to rejection/blacklisting of the said Bidder.

    - Tender shall be rejected if the envelope is not sealed or if the Bidder submits any conditional tender.

    - The intending Bidders are categorically advised to submit all documents strictly in the attached formats only. The information required should be neatly filled/typed in each and every columns and row of the Formats. The applications received with “partly filled formats” not containing desired information in each and every columns/points/row of various Annexures shall be treated as INCOMPLETE and such tenders shall be summarily rejected without any reference to the Bidder and at the Bidder’s risk and responsibility.

    - J&K Grameen Bank reserves their rights to accept any or to reject all the tenders in part or whole without assigning reasons thereof and no correspondence shall be entertained in this regard.

- TERMS AND CONDITIONS:

The following terms and conditions will be binding on all the Bidders. These terms and conditions will also form a part of the Service Level Agreement, to be executed by the Successful Bidder and shall be applicable during the complete term of the agreement with the Successful Bidder/s:

- Tender fees (non- refundable) of ₹1,770/- (Rupees One Thousand Seven Hundred & Seventy only), to be remitted through NEFT only vide below mention details:

- A/C No.:          2000530100000217

- A/c Name:      Tender fee

- IFSC:                 JAKA0GRAMEN

- Bank Name:    J&K Grameen Bank

- Brand/ Make: - Components of “Automatic Fire Detection and Alarm System” are freeze for particular brand/make and are specified in Annexure-A. The bidders are accordingly to

- Safety: The Supplier shall at all times conduct his operation in such a manner so as to avoid any risk of bodily harm to persons or damage to property. In addition, the supplier shall comply with all the applicable safety standard codes and regulations.

- No price variations shall be allowed for any rise or fall in cost of Labour, materials or any other    factors influencing the order price.

- Site of Installation: The site of installation shall cover all the existing/new branches/ offices of J&K Grameen Bank within the UT of J&K and Ladakh.

Note: - In case of any addition or deletion of Branches due to merger of Branches, opening of new Branches/Offices or merger/amalgamation of J&K Grameen Bank with any other Bank in the UT of J&K and UT of Ladakh, the L1 Bidder has to carry out the job in respective Branches/Offices as per the term and conditions of this tender.

- Checking of Records: J&K Grameen Bank can at any point of time check the books & records of the successful bidder.

- The Contract period is of 02 years and may be renewed for a period of 01 year as deemed necessary by the Bank on the existing rate, terms and conditions. Tenderers are advised to quote rates after examining the whole tender document.

- The Earnest Money Deposit (EMD) of ₹1,50,000/- (Rupees One Lakh Fifty Thousand only) in shape of TDR pledged to the GENERAL MANAGER, J&K Grameen Bank should be accompanied with the Tender. Any Tender without EMD will out rightly be rejected by the bank. The TDR may be of any branch of J&K Grameen Bank or any branch of a Scheduled Commercial Bank. Suppliers registered with Director General of Supplies & Disposals (DGS&D), National Small Industries Corporation (NSIC), MSE’s, Start-ups, Govt approved sources are exempted. Tender without EMD shall be considered incomplete and shall be rejected.

- Earnest Money of successful Bidder shall be released after submission of Service Level Agreement and Performance Bank Guarantee.

- EMD of unsuccessful Bidders shall be released within 02 months after the completion of Tender process. The unsuccessful Bidders have to collect the instrument (in original) from General Administrative Department, Head Office Jammu after submitting an application to release the EMD in their favor. Information regarding release of EMD in favor of unsuccessful Bidder shall be provided via mail (as mentioned in the tender document of the Bidder). Loss of EMD of unsuccessful Bidders (if not collected by them within 02 months w.e.f. the date of communication) shall be the sole responsibility of the said Bidder. The bank shall not be responsible for loss of instrument after the afore-mentioned time.

- Performance Bank Guarantee: Performance Bank Guarantee amounting to 5% of the Total Cost of Ownership (as finalized by the Bank) has to be submitted by the successful Bidder in the form of TDR or Bank Guarantee from J&K GRAMEEN BANK or any Scheduled commercial bank which should be valid for a period of 07 years and 02 months (Contract period + Warranty period + CAMC period). Failure of successful Bidder to provide the services within the stipulated time shall entail invocation of Performance Bank Guarantee or forfeiture of TDR or any other form of deposit as the case may be.

- The contract shall come into effect w.e.f date of issue of Rate Contract Order by the Bank and shall be binding on the successful vendor. The vendors are advised to ensure that they have proper staff and Office both in Jammu region and Kashmir region.

- TDS and GST TDS will be deducted from all Bills at the prescribed rates applicable from time to time.

- The rates finalized shall remain valid over the contract period of 02 years.

- The successful Bidder shall provide the services w.e.f. date of issue of Rate Contract Order by the Bank failing which the Bank shall be at liberty to cancel the contract of the defaulting Bidder and the earnest money of the successful Bidder shall be forfeited without assigning any reason. Besides, the Bank shall be entitled to recover from the successful Bidder any loss/damages which the bank may incur due to default of the successful Bidder.

- The vendor has to provide the mobile numbers of the technicians deployed to Bank. Further, Call Escalation Matrix should be provided for resolution of complaints. Also the technicians must carry a valid Identity Card while visiting Bank’s Branches / offices.

- Bank, if not satisfied with the services provided by the successful Bidder i.e. if there is delay in providing services to the Branches, Bank may cancel the entire contract and invoke the Performance Guarantee/EMD including black-listing of the Bidder.

- The Bank reserves the right to accept/reject any Tender/or all Tenders without assigning any reason thereof.

- The conditional Tenders shall be rejected out rightly and no correspondence of any nature shall be entertained.

- The Bidder should also provide Declaration regarding not-being blacklisted or otherwise and Declaration that the documents attached in response to this bid are genuine and bonafide, should be provided.

- Bank may disqualify the Bidder, if at any time, it is found that any information submitted by the Bidder/Bidder/service provider as mentioned in the Tender document is false or materially inaccurate/incomplete/incorrect.

- Dispute and Arbitration:- “ In the event of disputes, differences, claims and questions between the parties hereto arising out of this agreement or in any way relating hereto or any term, condition or provision herein mentioned or the construction or interpretation thereof or otherwise in relation hereto, the parties shall first endeavor to settle such differences, disputes, claims or questions by friendly consultation and failing such settlement, the same shall be referred to the arbitration by the arbitrator appointed by both the parties mutually. The arbitration shall be held in accordance with the Arbitration and Conciliation Act, 1966 or any other statutory modification or re-enactment thereof for the time being in force and shall be held in Jammu. The Courts in Jammu alone shall have jurisdiction over such arbitration proceedings. The language of the arbitration proceedings and that of the document and communication between the parties shall be English. The award of the Arbitrator shall be final, conclusive and binding upon the parties. Such award shall be filed in any competent court in Jammu. The parties shall continue to be performing their respective obligations under this Agreement, despite the continuance of the arbitration proceedings, except for the disputed part under arbitration.

Each party will bear the expenses/costs incurred by it in appointing the Arbitrator. However, the cost of appointing the Umpire shall be borne equally by both the parties.

- Governing Laws: - The Contract, its meaning and interpretation and relation between the parties shall be governed by the applicable laws of the Union of India read with local laws of UT of Jammu and Kashmir and the Firm shall agree to submit the courts under whose exclusive jurisdiction the Registered Office of Bank falls.

- The resultant contract will be interpreted under Indian & J&K UT Laws.

- Bidders are not permitted to alter or modify their bids after submission of the tender document.

- The Tenderer should sign & affix his/her firms stamp on each page of the Tender documents and all its related documents. Tender documents not containing signature and stamp of the Bidder/ firm shall be rejected.

- The successful Bidder has to submit duly signed and stamped notarized Service Level Agreement to the Bank within 10 days w.e.f. the date of issue of Rate Contract Order by the Bank, on the agreed Terms & Conditions. Format of Service Level Agreement shall be provided to the successful Bidder along with the Rate Contract Order.

- Bank shall have the right to call upon the information regarding status of work at any point of time.

- Sensitive Information: Any information considered sensitive must be protected by the Bidder / Bidder from unauthorized disclosure, modification or release or access. The Successful Bidder has to sign a Non-Disclosure Agreement with the Bank.

- The vendor undertakes to ensure that upon delivery, all materials, apparatus/equipment to be provided under this order shall be new from original equipment manufacturer (OEM), free from any defects and all components thereof will fulfil the performance data characteristics and properties and serve the purpose with maximum operational dependability.

- SUPPLY ORDERS:

- L-1 Bidder has to supply and install Automatic Fire Detection & Alarm System (Afd & As) at Branches / Offices of the bank within 60 days from the date of the issuance of Supply Order.

- Supply Orders shall be placed with the L-1 Bidder at the rate finalized by the Bank, any time during the contract period of 02 years. The Bidder has to supply and install the required Automatic Fire Detection & Alarm System (Afd & As) at the Branch/Office at their registered address. Contact details (including registered address) of the Branch/Office shall be mentioned on the Supply Order.

- The Bidder should ensure that the spares of the system should remain available with them upto a time period of 07 years (Contract period + Warranty period + CAMC period) w.e.f the date of issue of Purchase Order issued by the Bank.

- The Bidder shall at all times conduct his operation in such a manner so as to avoid any risk of bodily harm to persons or damage to property. In addition, the Bidder shall comply with all applicable safety standard codes and regulations.

- The Bidder shall ensure that the engineers / technicians aligned to install the system at Branch/Office should have company's Authority Letter and Identity Card. The aligned engineers / technicians should give demonstration / training to minimum two authorised staff members of the respective Branch / Office. Bank may ask for additional information from the technicians aligned, if required, during any time of the installation process.

- The installation of Automatic Fire Detection & Alarm Systems should be carried out under the supervision of Branch Head / Incharge or Nominated official of the Branch by the Branch Head / Incharge.

- After completing the Supply and Installation work, the bidder shall get Installation / Commissioning Certificate (on company’s letter head) duly signed from the Branch Head / Incharge.

- Any damage caused to the existing structure, wiring, other devices / equipment during installation process shall have to be made good by the Firm at its own expense, failing which the Bank will be free to do the needful to restore the status-quo-ante at the risk and cost of the vendor and shall recover the cost for such rectification from the Firm's final bill or PBG as deemed fit.

- While carrying out installation work, it should be ensured that adequate flexibility is available in the wiring to allow the renovation work in the Branch / Office, whenever required. All cables / wires, detector, hooters etc. should be properly anchored / fixed. The wiring for the system should be so spaced so as to cause no electrical interference in the existing system of the Branch / Office.

- A sample of all the cables, detectors, hooters etc. used, should be provided by the Firm to the Branch Head / Incharge for record purpose.

- The Bidder shall ensure that the work is carried out neatly and Bank's ambience is not disturbed. The Bidder shall also ensure that there should be no damage to Bank's property/or any decorative structure, while carrying out the work. The Bidder will rectify the damages at his own cost.

- The debris/ dust or any wastage generated out of the above work shall be cleaned as frequently as required and as instructed by the Branch Head / Incharge.

- The work executed/ equipment supplied should be inspected by the authorized Official of the Bank and the bidder shall rectify any bad workmanship/defect pointed out at any stage and rectify the same.

- The Bidder shall be responsible for the application of labour laws, all other social security enactments applicable to such works and workmen and compensation for injury and accident to person, if any, whether such injured person is employed by it.

- The Bank will be within its right to ask for the testing of item(s) supplied/material used from the competent/approved agency. The cost of testing will have to be borne by the bidder.

- The bidder shall ensure that the dealership of the Firm is not discontinued by the principal manufacturer during the contract period. The Bank will be free to forfeit the PBG of the bidder, in case dealership of Firm is cancelled by the principal manufacturer during the contract due to any reason.

- WARRANTY: The Bidder shall provide a comprehensive warranty of min. 02 Years from the date of commissioning of Automatic Fire Detection & Alarm System (Afd & As).

- COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT (CAMC):

- The comprehensive Annual Maintenance Contract shall start immediately after expiry of the warranty period of the Automatic Fire Detection & Alarm Systems at the rate finalized by the Bank.

- CAMC period for Automatic Fire Detection & Alarm System (Afd & As) is 03 years w.e.f date of expiry of warranty period of the system installed at respective Branch / Office.

- The Bidder shall replace all parts / spares during the CAMC period at his own cost. No payment shall be borne by the Bank.

- The aligned technician/s should be in possession of valid identity card and authority letter and shall carry out the Periodic Inspection/ maintenance of Fire Alarm system. The following procedure shall be followed for maintenance:

- Mandatory inspection of the system during each quarter. 02 no. of visits per year are mandatory – 01 in each half. Inspection report has to be submitted failing which the CAMC payment shall not be released.

- Checking & testing the operation state of panel(s) in normal and during power supply failure, testing of battery for charged condition and removal of any defect, if found.

- Performance of external hooters, visual alarm of panel(s), manual call points and response indicators should be checked.

- Cleaning and testing of each and every detector. Servicing and testing of manual call points for each zone.

- Checking of open & short circuit conditions resulting in a faulty alarm indicating in the panel.

- Ensuring the required power supply (AC/DC) always exist to the system. Checking up all the wiring.

- Lamp(s) testing to be carried out of panel(s).

- The above all checking, and testing should be carried out by qualified technicians/engineers only. Security registers should be maintained and signed by the respective Branch Head / Incharge.

- In addition, the Bidder has to align technician/s to visit the Branch / Office as and when a complaint is lodged. Any issue of the system should be resolved / rectified within 48 hours w.e.f the date of lodging the complaint. The complaint shall be lodged on the registered e-mail address of the Bidder.

- In case, the issue can’t be resolved at the Branch / Office and the any component of the setup has to be taken to the service center, the Bidder shall supply and install alternate component at the Branch / Office at his own cost in order to ensure that the Business Continuity of the Branch is not hampered. The technician aligned by the Bidder should carry functional components of Setup with him while visiting any Branch so that the alternate component may be installed at the said Branch if the need arises to carry the existing component at the Service Centre for repairs.

- Contact details of the technicians / SPOC should be provided.

- PAYMENT TERMS: Payment shall be released in the following manner:

- PAYMENT ON ACCOUNT OF SICM OF SYSTEM:

- Payment shall be released only after submission of PBG and Service Level Agreement.

- 90% of the total bill shall be released within 15 days after submission of duly verified bill and commissioning certificate by the Branch Head / Incharge.

- 10% of the total bill shall be deducted as Retention Money and shall be released within 15 days after completion of the warranty period of the respective systems.

- Bidder should handover the original Bill and Commissioning report at respective Branch / Office and should also submit the soft copy of the same at the following e-mail address: pdg.hoj@jkgb.in failing which the payment shall not be released.

- PAYMENT ON ACCOUNT OF CAMC OF SYSTEM:

- CAMC cost per annum (as finalized by the Bank) shall be released at the end of each half year basis subject to submission of Preventive Maintenance report / Service report / Inspection report by the Bidder. The Bidder has to submit 02 reports during each year of CAMC period.

- If the Bidder fails to submit the inspection report, CAMC charges pertaining to respective half year shall not be released. In case, the Bidder fails to submit inspection reports 3 or more times during the CAMC period, the CAMC contract shall be terminated. Further, the Performance Bank Guarantee shall be forfeited.

- PENALATY:

- Penalty on account of non-submission of PBG and Service Level Agreement by L-1 Bidder: If L-1 Bidder fails to submit the PBG and Service Level Agreement within 10 days from the date of issue of Purchase Order by the Bank, due to any reason, Bank may cancel the entire contract of the said Bidder. Further, the EMD submitted by the said Bidder shall be forfeited. In such cases, the contract shall be executed with L-2 bidder.

- Penalty on account of non compliance of Supply Order by L-1 Bidder within the stipulated time: If L-1 contractor fails to supply and install the system at the respective Branch/Office within stipulated time of 60 days from the date of issue of Supply Order due to any reason, penalty @ ₹200/- per day shall be imposed subject to a maximum of ₹2,000/-. Also PBG shall be forfeited and Bank shall cancel the contract of the said Bidder. Further, the said Bidder shall be blacklisted. The Bidder is advised to ensure that the systems are readily available as and when the Supply Order is issued by the Bank.

- Penalty on account of non-rectification of any fault arised during the Warranty period:         If L-1 Bidder fails to rectify any fault occurred in the system during the warranty period within 05 days w.e.f the date of intimation of such defect to the Bidder (complaints shall be lodged on the e-mail address provided by the Bidder), due to any reason, penalty @ ₹200/- per day shall be imposed subject to a maximum of ₹2,000/- In case of default, Bank may employ and pay other agencies to amend and make good such defects and all expenses / damages / losses shall be recovered by Bank or may be deducted from any money due to the contractor including Retention Money besides imposing penalty as mentioned above. If the said incident is repeated two or more-times, Bank may cancel the contract and forfeit the PBG of the L-1 Bidder. Further, the said Bidder shall be black-listed. The same shall be intimated to India’s Bank Association.

- Penalty on account of non-rectification of any fault arised during CAMC period: If L-1 Bidder fails to rectify any fault occurred in the system during the CAMC period within 05 days w.e.f the date of intimation of such defect to the Bidder (complaints shall be lodged on the e-mail address provided by the Bidder), due to any reason, penalty @ ₹200/- per day shall be imposed subject to a maximum of ₹2,000/-. In case of default, Bank may employ and pay other agencies to amend and make good such defects and all expenses / damages / losses shall be recovered by Bank or may be deducted from any money due to the contractor including Retention Money besides imposing penalty as mentioned above. If the said incident is repeated two or more-times, Bank may cancel the contract and forfeit the PBG of the L-1 Bidder. Further, the said Bidder shall be blacklisted. In case, the Bidder installs alternate system in place of the existing system until the existing system is repaired, penalty shall not be imposed.

G. MINIMUM ELIGIBILITY CRITERIA AND DOCUMENTS TO BE SUBMITTED:

Bidders meeting the following criteria are eligible to submit their Bids along with supporting documents. If the Bid is not accompanied by all the required documents supporting eligibility criteria, the same would be rejected:

| S NO. | Minimum Eligibility Criteria | Documents to be submitted in the Technical Bid Envelope |
| --- | --- | --- |
| 1 | The Bidder must be a Firm / Proprietary / Partnership / Company registered under Companies Act. | - Registration Certificate / Shop License / Certificate of incorporation issued by Registrar of Companies (whichever applicable). - PAN of Firm - GST Registration - OEM Authorization Certificate |
| 2 | The Bidder should have a minimum experience of three years regarding Supply, Installation and Comprehensive Annual Maintenance of Automatic Fire Detection & Alarm System (Afd & As) at Scheduled Commercial Banks / Financial Institutions / Govt. Organizations and should have executed minimum 03 similar jobs in the last 03 Financial Years – 2021-22, 2022-23 and 2023-24. Bidders who have experience of only AMC of Automatic Fire Detection & Alarm System are not eligible | Copy of the work orders and work completion certificates issued by the respective organization specifying following information relating to the works carried out during the period from 01/04/2021 to 31/03/2024: 1. Scope of work. 2. Contract value. 3. No. of Systems Installed. 4. Duly certified Performance Certificate |
| 3 | The Bidder should have a minimum average annual turnover of Rs.10.00 Lakhs for the last two Financial Years 2022-23 and 2023-24. | Duly Attested Certificate by CA to be enclosed. |
| 4 | The Bidder should be a profit making firm during last two Financial Years 2022-23 and 2023-24. Net Profit after tax shall be considered. | Copies of the P&L Account and Balance Sheet (audited, if applicable) or Copies of ITR’s |
| 5 | The Bidder should have a well maintained registered office in UT of J&K and should have enough staff to provide services in UT of J&K and UT of Ladakh within 05 Days. | Details of the office along with the staff should be provided |
| 6 | Bidder should not have been disqualified / debarred / blacklisted from any Governments, Semi-governments, PSUs, Banks. | Undertaking should be provided as per Annexure-3 |

NOTE: Copies of all the relevant documents should be duly signed and stamped by the Bidder and enclosed in Technical Bid Envelope along with tender document, EMD and receipt of Tender fees.

H.  DOCUMENTS TO BE SUBMITTED IN TECHNICAL BID ENVELOPE:

      - All the supporting documents as mentioned above in Para No G MINIMUM ELIGIBILITY CRITERIA AND DOCUMENTS TO BE SUBMITTED.

      - Annexure-1.

      - Annexure-2.

      - Annexure-3.

      - Annexure-4.

      - Annexure-6.

- DOCUMENTS TO BE SUBMITTED IN COMMERCIAL BID ENVELOPE:

Commercial Bids only (No other document is required to be submitted with the Commercial Bid).

We have read and understood the above mentioned minimum eligibility criteria and shall abide by the same.

(Signature of the Bidder)

Name:

Date:

Designation:

Seal of the Firm/ Company

Annexure: 1

Minimum Technical Specifications for Automatic Fire Detection & Alarm System (Afd & As) and compliance

| Minimum Technical Specifications |  | Compliance Yes / No |
| --- | --- | --- |
| 1. MAIN CONTROL PANEL |  |  |
| a) Primary Function | The primary function of the control panel shall be to automatically respond to the operation of one or more detectors to give fire alarm and to indicate area (zone) from where the devices are activated. |  |
| b) Specifications | Minimum 02 – Zone Microprocessor based Control Panel as per IS-2189- 2008 specifications. Approved / tested by ERTL/ ETDC or any Third Party Laboratory/ Test House recognized by Bureau of Indian Standards for this purpose. Make (Apollo /System Sensor/Honeywell/ AGNI) |  |
| c) Electrical/ Electronics | Built-in power supply arrangement with AC/DC ON, system ON visual indicators. Automatic changeover arrangement to standby supply with built–in battery charger, low battery, charger fail, reverse polarity, AC/DC fail visual indicators. Built-in panel sounder with Acknowledge switch, lamp test and reset switches, evacuation alarm. Zone indicators for Fire, Open, Short, Isolate and Test Facility. On fault i.e., open / short condition, buzzer must sound and indicator lamp (LED) glows. This audible alarm should be distinct from the Fire Alarm. Trouble reminder Built-in Digital Ammeter, Digital Voltmeter, Air Conditioning turn-off relays and facilities for connecting Auto dialer etc. |  |
| d) Power Supply | The fire panel shall operate from a 230 v + / - 10 % 50 Hz mains supply and in case of power failure shall automatically switch over to a built-in sealed maintenance free battery rated at 24V DC 7 AH with a switch over time of less than 100 ms. Deep discharge arrangement should be there. |  |
| e) Power Consumption | Less than 200 mA idle current and 1–2 Amps on full activation. |  |
| f) AC Voltage at Input | Single Phase 50 Hz, 150-260 V. Auto cut-off protections for over and under current / voltage. |  |
| g) DC Voltage for | 24 Volts |  |
| h) Type of indicator | LED (different colors) |  |
| lamps |  |  |
| i) Body | Mild Steal (Minimum 16 SWG) |  |
| j) Type | Wall mounting, plug in modular type. |  |
| k) Overall dimensions | Suitable size to accommodate 2 zones, other control components, and 2x12V 7 AH battery. |  |
| l) Thickness of body and color | 16 SWG. Powder coating (Preferably White / Brown color) |  |
| m) Opening of the body / panel | Suitable locking arrangement through Key/Allen Screws. |  |
| n) Cable glands | Cable glands should be provided. |  |
| Additional facilities: It should have the following additional facilities / provision: |  |  |
| 2. BATTERY UNIT |  |  |
| a) Make | Standard ISI make Exide/ Amaron or equivalent |  |
| b) Type | Sealed, maintenance free. |  |
| c) Voltage | 12 Volts: 2 units. |  |
| d) AH Capacity | 7 AH capable of providing 48 hrs stand by supply in case of AC failure |  |
|  | as per IS 2189-2008. |  |
| e) Location | Both the batteries will be located within the Main Control Panel. |  |
| 3. MANUAL CALL POINT: |  |  |
| a) Make as per BIS | (Apollo /System Sensor/Honeywell/ AGNI) |  |
| b) Material of body | M.S., Powder coated with approved P.O red |  |
| c) Thickness of body | 1.5 mm. |  |
| d) Material of fragile element | Glass of 2mm thickness |  |
| e) Contact making breaking | Breaking for alarm |  |
| f) Dimension | 100mm x 100mm |  |
| g) Size of fragile element | 70mm x 70mm |  |
| h) Type of indicator lamp | LED |  |
| 4. ELECTRONIC HOOTER/SOUNDER WITH FLASHER (OPTIONAL) |  |  |
| a) Make | (Apollo /System Sensor/Honeywell/ AGNI) |  |
| b) Watt / capacity | 6 Watts (Dual tone) of Min 65 db output |  |
| c) Type of sound emitted | Intermittent / Dual |  |
| d) Material of the body | Fabricated from either spun aluminum or molded PVC. |  |
| 5. RESPONSE INDICATOR |  |  |
| a) Make | (Apollo /System Sensor/Honeywell/ AGNI) |  |
| b) Type of indicator lamps | LED |  |
| c) Material of the body | Fabricated from either spun aluminum or moulded PVC or MS 16 SWG |  |
| 6. CABLE |  |  |
| a) Make | Standard ISI mark |  |
| b) Specification | IS 1554-Part-1 1976 |  |
| c) Type | 2 core, 1.5 sq. Mm/core; Armoured Cable |  |
| 7. DETECTOR |  |  |
| i) OPTICAL SMOKE DETECTOR : |  |  |
| a) Operation Principle | Light Scattering or obscuration |  |
| b) Make | (Apollo /System Sensor/Honeywell/ AGNI) |  |
| c) Specification | IS-11360 1985/UL/BS/FM/LPCB |  |
| d) Type of indicator lamp | LED |  |
| e) Compatible to work with | Ionization and Heat and Multi Sensor |  |
| ii) HEAT DETECTOR: |  |  |
| a) Operation principle | Rate of rise cum fixed temperature type. |  |
| b) Make | (Apollo /System Sensor/Honeywell/ AGNI) |  |
| c) Specification | IS-11360/UL/BS/FM/LPCB |  |
| d) Type of indicator lamp | LED |  |
| e) Compatible to work with | Ionization and Optical and Multi Sensor |  |

Annexure: 2

DETAILS OF BIDDER AND CALL ESCALATION MATRIX

| S No. | Particulars | Details |
| --- | --- | --- |
| 1 | Name of Bidder |  |
| 2 | Name of Firm |  |
| 2 | Address of the Registered Office |  |
| 3 | Contact No. |  |
| 4 | E-Mail ID |  |
| 5 | Name of Contact Person / SPOC |  |
| 6 | Year of Establishment of Firm |  |
| 7 | PAN No. of Firm |  |
| 8 | GST No. of Firm |  |
| 9 | Bank Details (Payment shall be credited in this account) |  |
| 9 a | Account No |  |
| 9 b | Account Name |  |
| 9 c | IFSC Code |  |

| S No. | Level | Name of Person | Contact Number | e-mail address |
| --- | --- | --- | --- | --- |
| 01 | Level - 1 |  |  |  |
| 02 | Level – 2 |  |  |  |
| 03 | Level – 3 |  |  |  |
| 04 | Level – 4 |  |  |  |
| 05 | Level – 5 |  |  |  |

| S No. | Single Point of Contact | Contact Number | e-mail address |
| --- | --- | --- | --- |

Annexure: 3

DECLARATION

(To be given on Firm/ Company Letter Head)

To

The General Manager

J&K Grameen Bank

Head Office, Narwal

Jammu

Dear Sir,

- I/We have read and understood the contents of the Tender/Rate Contract and agree to abide by all the terms and conditions of this Tender.

- I/We also confirm that in the event of my/our tender being accepted, I/we hereby undertake that the EMD submitted by me/us shall be retained by the Purchaser and shall be released after I/We have submitted Performance Security as a pre-requisite for signing the Contract Agreement.

- I/ We also confirm and undertake that the documents attached and information provided by me/us to the bank in response to the Tender/ Rate Contract is/ are genuine to the best of my knowledge. In case any of the documents/ information is found to be false/ fake/incorrect/untrue or found violated, then your department/organization shall without giving any notice or reason therefore or summarily reject the bid or terminate the contract, without prejudice to any other rights or remedy including the forfeiture of the full said earnest money deposit.

- I/We further undertake that none of the Proprietor/Partners/Directors of the firm/Company was or is Proprietor or Partner or Director of any firm/ Company with whom any Government Deptt/ PSU or Bank has blacklisted/ banned / suspended business dealing. I/We further undertake to report to the J&K Grameen Bank immediately after we are informed but in any case not later than 15 days, if any firm/Company in which Proprietor /Partners/Directors are Proprietor or Partner or Director of such a firm/Company which is blacklisted/banned/suspended in future during the currency of the Contract with you.

- I/We here by confirm and declare that we, M/S____________________________ have never been blacklisted/De-registered by any Government department/ Public Sector Undertaking/ Private Sector/or any other agency for which we have executed/ undertaken the works/ services.

(Signature of the Bidder)

Name:

Date:

Designation:

Seal of the Firm/ Company

Annexure: 4

Details of Registered Office and Staff

COMPLETE ADDRESS:   ______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| S No. | Name Of Staff Member | Designation | Contact No. |
| --- | --- | --- | --- |
| 01 |  |  |  |
| 02 |  |  |  |
| 03 |  |  |  |
| 04 |  |  |  |
| 05 |  |  |  |
| 06 |  |  |  |
| 07 |  |  |  |
| 08 |  |  |  |
| 09 |  |  |  |
| 10 |  |  |  |

Annexure: 5

Commercial Bid regarding Supply, Installation, Commissioning & Maintenance (SICM) and CAMC of Automatic Fire Detection & Alarm System (Afd & As)

| S.No | Particulars | Rate per Unit/Mtr. (Excluding GST) |
| --- | --- | --- |
| - Supply, Installation, Commissioning and Maintenance (SICM) of Automatic Fire Detection and Alarm System with a warranty period of two (2) year. |  |  |
| 1. | Supply, Installation, Commissioning and Maintenance (SICM) of Main Fire Alarm Control Panel (2 Zone) with battery backup of 16 hours with 02 nos. of 12V batteries. | ₹. |
| 2. | Supply, Installation, Commissioning and Maintenance (SICM) of Fire Hooter | ₹. |
| 3. | Supply, Installation, Commissioning and Maintenance (SICM) of Heat Detector | ₹. |
| 4. | Supply, Installation, Commissioning and Maintenance (SICM) of Optical Smoke Detector | ₹. |
| 5. | Supply, Installation, Commissioning and Maintenance (SICM) of Response Indicator | ₹. |
| 6. | Supply, Installation, Commissioning and Maintenance (SICM) of Manual Call Point (MCP) | ₹. |
| 7. | 2 Core 1.5 sq. mm Armoured Cable | ₹. |
| 8. | PVC Conduit Pipe | ₹. |
| Total Expenditure (A) |  | ₹. |
| - Comprehensive Annual Maintenance Contract- Onsite services (After two years warranty of SICM at the site) |  |  |
| 9. | CAMC of Automatic Fire Detection and Alarm System for 1st year after expiry of warranty period | ₹. |
| 10. | CAMC of Automatic Fire Detection and Alarm System for 2nd year after expiry of warranty period | ₹. |
| 11. | CAMC of Automatic Fire Detection and Alarm System for 3rd year after expiry of warranty period | ₹. |
| Total CAMC cost for three years after warranty (B) |  | ₹. |
| Total Rate Quoted (C)=(A) + (B) |  | ₹. |

As on date, GST on S No. 1 to 7 is _____________ % and

GST on S No. 8 to 10 is ____________ % (Please specify present GST %age).

- Rates should be inclusive of all charges (including service charges, all other taxes etc.) and excluding GST.

- GST shall be paid as per the guidelines of GOI. L-1 Bidder has to mention GST number, %age, amount on the bills.

- Contract Period:  02 Years

- All columns should be duly filled. In case there is mis-calculation, the bid shall be rejected and no correspondence shall be made.

- L-1 shall be declared on the basis of total cost at C.

(Signature of the Bidder)

Name:

Date:

Designation:

Seal of the Firm/ Company

Annexure: 6

CHECK LIST

| S. NO. | List of Documents | Whether self-attested copy enclosed (Yes/No) | Page No. Where the documents Enclosed. | REMARKS |
| --- | --- | --- | --- | --- |
| 1 | Duly Signed and Stamped Tender document |  |  |  |
| 2 | Receipt of Tran/UTR no. of Tender Fee. |  |  |  |
| 3 | TDR of Earnest Money Deposit |  |  |  |
| 4 | Bank details (Account No and Name, Bank name, IFSC code) |  |  |  |
| 5 | Copy of Registration Certificate (MSME, NSIC, DGSD) |  |  |  |
| 6 | Copy of PAN |  |  |  |
| 7 | Copy of GST Registration Certificate |  |  |  |
| 8 | Details of Financial Statements |  |  |  |
| 8 (a) | Balance Sheet for FY 2021-22 |  |  |  |
| 8 (b) | Balance Sheet for FY 2022-23 |  |  |  |
| 8 (c) | Balance Sheet for FY 2023-24 |  |  |  |
| 8 (e) | Profit & Loss Statement for FY 2021-22 |  |  |  |
| 8 (f) | Profit & Loss Statement for FY 2022-23 |  |  |  |
| 8 (g) | Profit & Loss Statement for FY 2023-24 |  |  |  |
| 9 | Annual Turnover Certificate duly attested by CA |  |  |  |
| 10 | Income Tax Returns |  |  |  |
| 10 (a) | Assessment Year 2022-23 |  |  |  |
| 10 (b) | Assessment Year 2023-24 |  |  |  |
| 10 (c) | Assessment Year 2024-25 |  |  |  |
| 11 | Declaration regarding not-being blacklisted / debarred. |  |  |  |
| 12 | Declaration that the documents attached in response to this bid are genuine and bonafide |  |  |  |
| 13 | Experience Certificate issued by Scheduled Commercial Banks / Financial Institutions |  |  |  |
| 14 | Copy of Work orders and Work Completion Certificates issued by Scheduled Commercial Banks / Financial Institutions |  |  |  |
| 15 | Details of Registered Office In UT of J&K along with authorized officials, valid phone numbers and email |  |  |  |
| 16 | Annexure – 1 |  |  |  |
| 17 | Annexure – 2 |  |  |  |
| 18 | Annexure – 3 |  |  |  |
| 19 | Annexure – 4 |  |  |  |
| 20 | Annexure – 5 (enclosed in Commercial Bid envelope only) |  |  |  |
| 21 | Annexure – 6 |  |  |  |